## Sheet1
YouTube Link | Description | Model | Category | Last Updated
https://youtu.be/HvI2hUPH33s | Adjusting the door latch | HYDRIM L110W G4 | Troubleshooting | 2023-05-26
https://youtu.be/lsQUCfNnqaU | Automatic calibration | STATCLAVE G4 | Maintenance | 2023-03-06
https://youtu.be/R0qP8FPRFOM | Bowie Dick Test | BRAVO | Maintenance | 2023-03-06
https://youtu.be/4L7y_kHhNYY | Changing and testing the exhaust check valve | STATCLAVE G4 | Repairs | 2023-03-06
https://youtu.be/Fyj_DMPX7mA | Checking for Leaks Using Positive Pressure | BRAVO | Troubleshooting | 2023-03-06
https://youtu.be/8sW_yJGOM_o | Controller Board Replacement | STATCLAVE G4 | Repairs | 2023-03-06
https://youtu.be/_igIqlLTlQQ | Door Plate Adjustment | BRAVO | Repairs | 2023-03-06
https://youtu.be/eyJ6DBF03pY | How to Check the Dryer Heater and Dryer Motor | HYDRIM C61W G4 | Troubleshooting | 2023-03-06
https://youtu.be/d8As8OnMLDM | How to clean the chamber filters | STATCLAVE G4 | Maintenance | 2023-03-06
https://youtu.be/6JPeQe0P-jA | How to drain for shipping | STATCLAVE G4 | Repairs | 2023-03-06
https://youtu.be/-AutkZ0YK4E | How to remove and reinstall the side and back panels | STATCLAVE G4 | Repairs | 2023-03-06
https://youtu.be/-AutkZ0YK4E | How to replace Blower Motor and Heat Exchanger | STATCLAVE G4 | Repairs | 2023-03-06
https://youtu.be/kPQ8GziLyBM | How to replace the bacteriological filter | STATCLAVE G4 | Maintenance | 2023-03-06
https://youtu.be/fv-DBxrf06g | How to replace the door cover | STATCLAVE G4 | Repairs | 2023-03-06
https://youtu.be/JVfUEdpxZzM | How to replace the door seal | STATCLAVE G4 | Maintenance | 2023-03-06
https://youtu.be/SR2d0tRKnGY | How to replace the LCD Fascia and LCD | STATCLAVE G4 | Repairs | 2023-03-06
https://youtu.be/_PHL4sq8y3Q | How to select the correct software for HYDRIMLess | HYDRIM C61W G4 | firmware-download | 2023-03-22
https://youtu.be/_PHL4sq8y3Q | How to select the correct software for HYDRIMLess | HYDRIM C61WD G4 | firmware-download | 2023-03-22
https://youtu.be/_PHL4sq8y3Q | How to select the correct software for HYDRIM | HYDRIM L110W G4 | firmware-download | 2023-03-22
https://youtu.be/_PHL4sq8y3Q | How to select the correct software for HYDRIM | HYDRIM M2 G4 | firmware-download | 2023-03-22
https://youtu.be/Rk2Sf5KukzI | How to select the correct software for STATCLAVE | STATCLAVE G4 CA | firmware-download | 2023-03-22
https://youtu.be/Rk2Sf5KukzI | How to select the correct software for STATCLAVE | STATCLAVE G4 US | firmware-download | 2023-03-22
https://youtu.be/SJy3UcmRUm8 | How to select the correct software for STATIM | STATIM 2000 G4 | firmware-download | 2023-03-22
https://youtu.be/SJy3UcmRUm8 | How to select the correct software for STATIM | STATIM 5000 G4 | firmware-download | 2023-03-22
https://youtu.be/oDVFeO-FsdQ | How to troubleshoot the air gap | HYDRIM C61W G4 | Troubleshooting | 2023-05-26
https://youtu.be/4GgtK2N6pQc | How to troubleshoot the circulation pump | HYDRIM C61W G4 | Troubleshooting | 2023-05-26
https://youtu.be/J7WO8YF9sGo | HYDRIM C61W G4 Automated Instrument Washer - In-Service | HYDRIM C61W G4 | In-service | 2021-08-27
https://youtu.be/TLB6yUNFUt8 | HYDRIM L110W G4 Automated Instrument Washer - In-Service | HYDRIM L110W G4 | In-service | 2021-08-27
https://youtu.be/3XzR2nvSnFM | Installing a Printer | BRAVO | Repairs | 2023-03-06
https://youtu.be/jzK0lTYH1vs | Performing a Bowie Dick Test | STATCLAVE G4 | Maintenance | 2023-03-06
https://youtu.be/72Et6pHnZN0 | Performing a Positive Pressure Test to Search for Leaks | STATCLAVE G4 | Troubleshooting | 2023-03-06
https://youtu.be/mLFgo6YmiuA | Pressure Transducer | BRAVO | Repairs | 2023-03-06
https://youtu.be/XtCW8TKtA4U | Priming and Checking the Dosing System | HYDRIM C61W G4 | Repairs | 2023-03-06
https://youtu.be/O6H38_CNAtY | Priming the pumps | STATCLAVE G4 | Troubleshooting | 2023-05-26
https://youtu.be/sSmF035eicc | Priming the Water Pumps | STATCLAVE G4 | Troubleshooting | 2023-03-06
https://youtu.be/HVJspFyu0tA | Quick Vacuum System Test | STATCLAVE G4 | Repairs | 2023-03-06
https://youtu.be/Fup-2czZjY0 | Remove and Replace the I/O PCB | HYDRIM C61W G4 | Repairs | 2023-03-06
https://youtu.be/Hg3Uk9-GYCM | Remove and replacing the dosing valve and reservoirs | HYDRIM L110W G4 | Repairs | 2023-05-26
https://youtu.be/vgI47fQ-cOQ | Removing and Reinstalling the Top Cover and Panels | HYDRIM C61W G4 | Repairs | 2023-03-06
https://youtu.be/YsGOIkFlLe0 | Removing and reinstalling top cover and side panels | BRAVO | Repairs | 2023-03-06
https://youtu.be/nHhvjr6D05o | Replacing a Water Reservoir Level Switch | STATCLAVE G4 | Repairs | 2023-03-06
https://youtu.be/Ls_0MuCEj8M | Replacing D seal | HYDRIM L110W G4 | Repairs | 2023-05-26
https://youtu.be/OikLly6hZ-c | Replacing the 5V and 24V Power Supplies | HYDRIM C61W G4 | Repairs | 2023-03-06
https://youtu.be/l94FKOJ94gc | Replacing the Air Gap | HYDRIM C61W G4 | Repairs | 2023-03-06
https://youtu.be/l94FKOJ94gc | Replacing the Air Gap Pump and Solenoid | HYDRIM C61W G4 | Repairs | 2023-03-06
https://youtu.be/0tK1lgFiUHM | Replacing the Bellows Pump | HYDRIM C61W G4 | Repairs | 2023-03-06
https://youtu.be/rdM0zqrPEBc | Replacing the bottom wash arm RPM sensor | HYDRIM C61W G4 | Repairs | 2023-05-26
https://youtu.be/IfCQCYhDTLE | Replacing the chamber seal | HYDRIM L110W G4 | Repairs | 2023-05-26
https://youtu.be/DrCR4uq9mHI | Replacing the chamber seal and door seal | HYDRIM C61W G4 | Repairs | 2023-05-26
https://youtu.be/12Yx07lW0Io | Replacing the Detergent Pump | HYDRIM C61W G4 | Repairs | 2023-03-06
https://youtu.be/IhMSzgtRmZo | Replacing the Detergent Reservoir | HYDRIM C61W G4 | Repairs | 2023-03-06
https://youtu.be/stoB0hucgYs | Replacing the door latch | HYDRIM L110W G4 | Repairs | 2023-05-26
https://youtu.be/_L4IoZiC0RQ | Replacing the Door Locking Motor | BRAVO | Repairs | 2023-03-06
https://youtu.be/V1ZpcvyvLpY | Replacing the drain pump | HYDRIM C61W G4 | Repairs | 2023-05-26
https://youtu.be/YJ9qlAeQfqE | Replacing the dryer duct (J-duct) assembly | HYDRIM C61W G4 | Repairs | 2023-05-26
https://youtu.be/fWx1Av5F9nM | Replacing the Dryer Heater | HYDRIM C61W G4 | Repairs | 2023-03-06
https://youtu.be/e-wYmpIQ0aU | Replacing the dryer motor | HYDRIM C61W G4 | Repairs | 2023-05-26
https://youtu.be/b6jpvvQwoJI | Replacing the dryer outlet fitting | HYDRIM C61W G4 | Repairs | 2023-05-26
https://youtu.be/-mpwh4abs98 | Replacing the dryer thermistor | HYDRIM C61W G4 | Repairs | 2023-05-26
https://youtu.be/K_0DovCnG_4 | Replacing the Front Fascia | BRAVO | Repairs | 2023-03-06
https://youtu.be/Yp9AADyLC4A | Replacing the I/O board | HYDRIM L110W G4 | Repairs | 2023-05-26
https://youtu.be/2kczfMi-f7o | Replacing the LCD | BRAVO | Repairs | 2023-03-06
https://youtu.be/cWdOyX5NE88 | Replacing the LCD Assembly | HYDRIM C61W G4 | Repairs | 2023-03-06
https://youtu.be/e6NXMa7gMiQ | Replacing the lower door seal | HYDRIM L110W G4 | Repairs | 2023-05-26
https://youtu.be/B0jqGizzlns | Replacing The MicroSD card | HYDRIM L110W G4 | Repairs | 2023-05-26
https://youtu.be/-_MoJVPcAVo | Replacing the MicroSd card | STATCLAVE G4 | Repairs | 2023-05-26
https://youtu.be/OfwqvsIgfpc | Replacing the power supply | HYDRIM L110W G4 | Repairs | 2023-05-26
https://youtu.be/NY--g6SqNXw | Replacing the Pressure Switch | BRAVO | Repairs | 2023-03-06
https://youtu.be/ttZnyUx83TA | Replacing the recirculation pump | HYDRIM C61W G4 | Repairs | 2023-05-26
https://youtu.be/AVKl3IzHTyQ | Replacing the Steam Generator | BRAVO | Repairs | 2023-03-06
https://youtu.be/0LXPpYisZ-o | Replacing the top and bottom wash arm RPM sensors | HYDRIM C61W G4 | Repairs | 2023-05-26
https://youtu.be/usG60QkZFaw | Replacing the Vacuum Pump | BRAVO | Repairs | 2023-03-06
https://youtu.be/A3jNIFKzVOs | Replacing the Vacuum Pump capacitor | BRAVO | Repairs | 2023-03-06
https://youtu.be/aDMhAs_kYJQ | Replacing the Venturi Device | STATCLAVE G4 | Repairs | 2023-03-06
https://youtu.be/I5ilJZPTJEo | Replacing the water heater | HYDRIM L110W G4 | Repairs | 2023-05-26
https://youtu.be/GFXNXPyl-u4 | Replacing the water heater | HYDRIM C61W G4 | Repairs | 2023-05-26
https://youtu.be/WPdXUK5hNnk | Reservoir Float Sensors | BRAVO | Repairs | 2023-03-06
https://youtu.be/rYqpNNko42Q | SciCan HYDRIM C61WD G4 Automated Instrument Washer-Disinfector - In-Service (EU) | HYDRIM C61WD G4 | In-service | 2021-08-27
https://youtu.be/XH9P4UNxnvA | SciCan HYDRIM M2 G4 Automated Instrument Washer-Disinfector - In-Service (EU) | HYDRIM M2 G4 | In-service | 2021-09-01
https://youtu.be/d5Q9go8XR1Y | Servicing the Door Latch Assembly | HYDRIM C61W G4 | Repairs | 2023-03-06
https://youtu.be/FZ530aWElRE | Servicing the Door Locking Mechanism | STATCLAVE G4 | Repairs | 2023-03-06
https://youtu.be/roDaKai8X_s | Servicing the Heat Exchanger | BRAVO | Repairs | 2023-03-06
https://youtu.be/3D9dROoJ6Cs | Servicing the Vacuum Pump | BRAVO | Repairs | 2023-03-06
https://youtu.be/Smo6XEJKIjM | STATCLAVE G4 - In-Service | STATCLAVE G4 | In-service | 2021-08-27
https://youtu.be/eXjsnWglPQ0 | STATIM G4 Cassette Autoclave - In-service (Canada) | STATIM 2000 G4 | In-service | 2021-09-01
https://youtu.be/eXjsnWglPQ0 | STATIM G4 Cassette Autoclave - In-service (Canada) | STATIM 5000 G4 | In-service | 2021-09-01
https://youtu.be/9XhcmNI0ylQ | STATIM G4 Cassette Autoclave In-service (EU) | STATIM 2000 G4 | In-service | 2021-09-01
https://youtu.be/9XhcmNI0ylQ | STATIM G4 Cassette Autoclave In-service (EU) | STATIM 5000 G4 | In-service | 2021-09-01
https://youtu.be/Kl7eysPaFzI | STATIM G4 Cassette Autoclave In-service (United States) | STATIM 2000 G4 | In-service | 2021-09-01
https://youtu.be/Kl7eysPaFzI | STATIM G4 Cassette Autoclave In-service (United States) | STATIM 5000 G4 | In-service | 2021-09-01
https://youtu.be/n2aVisy7s8I | Steam Generator | STATCLAVE G4 | Repairs | 2023-03-06
https://youtu.be/ENLP2IQ0QWc | Steam Generator Water Pump Replace and Test | STATCLAVE G4 | Repairs | 2023-03-06
https://youtu.be/lJISaYokicg | Testing the drain pump | HYDRIM C61W G4 | Troubleshooting | 2023-05-26
https://youtu.be/YFAeRl3mJ40 | Testing the Pressure Relief Valve | STATCLAVE G4 | Maintenance | 2023-03-06
https://youtu.be/8J9MCa-RoVA | Testing the water pumps | STATCLAVE G4 | Troubleshooting | 2023-05-26
https://youtu.be/U0lDBhzMAkA | Updating Software on The Controller Board and LCD | STATCLAVE G4 | Maintenance | 2023-03-06
https://youtu.be/swmpopSaA6U | Updating the software | HYDRIM C61W G4 | Maintenance | 2023-05-26
https://youtu.be/2t-GHjq5kJw | Using the Service Window | HYDRIM C61W G4 | Troubleshooting | 2023-03-06
https://youtu.be/sCJn1XyXY8k | Using the wash test indicators | HYDRIM C61W G4 | Maintenance | 2023-05-26
https://youtu.be/KYC4k7tOzZQ | Venturi Water Pump | STATCLAVE G4 | Repairs | 2023-03-06
https://youtu.be/94tg0w_PluI | Wash Arm and Chamber Filter Maintenance | HYDRIM C61W G4 | Maintenance | 2023-03-06
https://youtu.be/EpfjW7mHh9Q | Water Cooling Pump | STATCLAVE G4 | Repairs | 2023-03-06
https://youtu.be/h8B7GD0UBZ0 | Water Pump and Steam Generator Flow Tests | BRAVO | Troubleshooting | 2023-03-06
https://youtu.be/YEwMoHKHn7U | Water Reservoir | BRAVO | Repairs | 2023-03-06